## Customer Info
Job Name | RAY DAVIDSON
Name | Ray Davidson
Address | 1839 Doak Blvd
City | Ripon
Zip | 95366
Phone 1
Phone 2
Email 1 | ray.tvl@gmail.com
Email 2
Acct |  | PG&E
Meter

## Pricing Calculator
RAY DAVIDSON
System Details
Main Panel Amperage | 400
Main Breaker Amperage | 200
Main Panel Bus Bar Rating | 200
Max PV Breaker (120% Rule) | 40
Roof Type | Composition Shingle
Tree Trimming Required | TRUE
| MODEL | QUANTITY | SIZE | COST/WATT | COST/UNIT | TOTAL
Modules | MSX10-435HN0B | 28 | 435 | 0.45 | 195.75 | 5912.6288
Inverter | IQ8AC | 28 |  | 0.4069 | 177 | 5346.285
Mounting Hardware | FlashFoot 2 | 28 |  |  | 65 | 1963.325
Gateway | IQ Combiner 5 | 1 |  |  | 700 | 755.125
Battery | IQ10C | 2 | 10 |  | 6350 | 13700.125
Off-Grid | Grid-Tied | 0 |  |  | 0 | 0
Panel Wattage | 435
Panel Wattage (CEC) | 405.6 | 93.24%
Inverter Efficiency | 97%
System Wattage (DC) | 12180
CEC-AC Wattage | 11016.096
kWh / kW / Year | 1550 | (@ 180°)
Estimated Annual Production | 18879
ESS Capacity | 20
JOB COST | [6 empty] | SALES TAX
| QUANTITY | COST/UNIT | TOTAL COST | COST/WATT | TYPE |  | Rate | 7.875%
PV System
Total PV Equipment |  |  | 13977.3638 | 1.1476 | Equipment |  | LABOR
Additional Mounting Hardware |  |  | 0 | 0 | Equipment |  | Crew Size | 3
MSS Installation Labor | 28 | 45 | 1260 | 0.10345 | Labor |  | Inspection Time | 4
Total PV System |  |  | 15237.3638 | 1.251 |  |  | Hours / Day | 8
[7 empty] | Job Days | 1
Ground Rack
Rack Pipe | 0 | 2.3193 | 0 | 0 | Equipment |  | ELECTRICAL
Concrete | 0 | 130 | 0 | 0 | Equipment |  | Conductors | 5
Concrete Pump | 0 | 450 | 0 | 0 | Equipment
Rack Equipment Rental | 0 | 125 | 0 | 0 | Equipment
Rack Labor | 0 | 45 | 0 | 0 | Labor
Total Ground Rack |  |  | 0 | 0
Electrical
Trenching Equip Rental (days) | 0 | 300 | 0 | 0 | Equipment
Trenching Labor (20ft/hr) | 0 | 45 | 0 | 0 | Labor
Conduit (ft) | 100 | 0.7 | 70 | 0.0057471 | Equipment
Wire (ft) | 500 | 0.4 | 200 | 0.01642 | Equipment
Breakers, SolaDeck, Disconnects, etc. | 1 | 300 | 300 | 0.024631 | Equipment
Browning Electric | 1 | 1000 | 1000 | 0.082102 | Labor
Total Electrical |  |  | 1570 | 0.1289
Paperwork & Approvals
Permits Labor | 2 | 75 | 150 | 0.012315 | Labor
Permit Fees |  |  | 550 | 0.045156 | Equipment
Application Cost |  |  | 900 | 0.073892 | Equipment
Application Labor | 1 | 75 | 75 | 0.0061576 | Labor
Electrical Engineering | 0 | 0 | 0 | 0 | Equipment
Structural Engineering | 0 | 350 | 0 | 0 | Equipment
Drafting Charges Andy | 1 | 200 | 200 | 0.01642 | Equipment
Drafting Labor MSS | 1 | 50 | 50 | 0.0041051 | Labor
Total Paperwork & Approvals |  |  | 1925 | 0.15805
Miscellaneous
Extra Travel |  |  | 0 | 0 | Equipment
Warranty |  |  | 1000 | 0.082102 | Equipment
Safety |  |  | 0 | 0 | Labor
Miscellaneous Equipment |  |  | 50 | 0.0041051 | Equipment
Miscellaneous Labor |  |  | 0 | 0 | Labor
Total Miscellaneous |  |  | 1050 | 0.086207
Total Equipment |  |  | 17247.3638 | 1.416
Total Labor |  |  | 2535 | 0.20813
Referral |  | 0% | 0 | 0
Cost of Sale |  |  | 200 | 0.01642
Financing Fees | 0 | 400 | 0 | 0
Overhead |  |  | 1800 | 0.14778
TOTAL PV COST |  |  | 21782.3638 | 1.7884
ESS System
Total ESS Equipment |  |  | 13700.125 | 1.1248 | Equipment
Installation Labor MSS (hrs) |  |  | 500 | 0.041051 | Labor
Browning Electric |  |  | 800 | 0.065681 | Equipment
Warranty |  |  | 500 | 0.041051 | Equipment
Overhead |  |  | 400 | 0.032841 | Equipment
TOTAL ESS COST |  |  | 15900.125 | 1.3054
TOTAL JOB COST |  |  | 37682.4888
Gross Margin
ESTIMATED SALE PRICE |  |  | Total Price |  | Amount | On Cost | On Price
PV System Price |  |  | 30500 | 2.5041 | 8717.6362 | 40.02% | 28.58%
ESS System Price |  |  | 22300 | 1115 | 6399.875 | 40.25% | 28.7%
Total Sale Price |  |  | 52800 |  | 15117.5112 | 40.12% | 28.63%
LOAN DETAILS
Loan Term |  |  | 12
Interest Rate |  |  | 6.74%
Monthly Payment (PV) |  |  | 310
Monthly Payment (ESS) |  |  | 227
Total Monthly Payment |  |  | 537